## Slide 1
Item Ref | Power | Nominal Luminous flux | Source SMD | Light Efficiency | P.F | CRI
OZ-EXP-FL1-40 | 40 watt | 4800 Lm | 3030 36 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-60 | 60 watt | 7200 Lm | 3030 108 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-80 | 80 watt | 9600 Lm | 3030 108 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-100 | 100 watt | 12000 Lm | 3030 108 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-120 | 120 watt | 14400 Lm | 3030 192 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-150 | 150 watt | 18000 Lm | 3030 192 Pcs | 120 Lm/w | > 0.9 | >70
OZ-EXP-FL1-185 | 185 watt | 21600Lm | 3030 192 Pcs | 120 Lm/w | > 0.9 | >70
50000h
IP68
PF
>0.9
CRI
>70
Electrical data |  |  | Photometric Data | 
Model | OZ-EXP-FL1 |  | Color Temperature - CCT | 3000K, 4000K, 6000K
Operating Frequency | Ac100-277 V, 50/60Hz |  | Color Rendering Index | >70
Power Factor λ | >0.95 |  | Sdcm | <5
Efficiency In % | >98% |  | Beam Angle | 120°x120°
Start time(0.2s/0.5s/... | 0.1S |  |  | 
Warm-up time to 60% | 0.5S |  | Life Span | 
Driver | Meanwell – HLG series |  | Rated Nominal Life time | 50,000 hrs.
Ingress Protection | IP68 |  | Switching cycle | 100,000 times
Source | Bridgelux SMD 3030 |  | Led Device life time | L80/B10 @ 50,000H
Material & Protection |  |  | Luminous | 120Lm/w
Protection | IP68 |  |  | 
Impact protection | IK9 |  | Temperature | 
Installation | Multiple |  | Operating temperature | -40~+50c
Material | Aluminum Die-Cast ADC12 |  | Options | Photocell, Motion Sensor
FSI-PSEC
Explosion Proof Flood Light
OZ-Exp-FL1